Study of the Relationship between the Magnetic Field Exposure from Home Appliances and Drawn Current

S. Ursache1, E. Lunca2, A. Salceanu3, I. Pavel4

1Technical University of Iasi, Faculty of Electrical Engineering, 23 Prof. Dimitrie Mangeron Street, Iasi, Romania, silviu_ursache@tuiasi.ro, +40 232 278683 / 1246

2Technical University of Iasi, Faculty of Electrical Engineering, 23 Prof. Dimitrie Mangeron Street, Iasi, Romania, elunca@tuiasi.ro,+40 232 278683 / 1246

3Technical University of Iasi, Faculty of Electrical Engineering, 23 Prof. Dimitrie Mangeron Street, Iasi, Romania, asalcean@tuiasi.ro,+40 232 278683 / 1157

3Technical University of Iasi, Faculty of Electrical Engineering, 23 Prof. Dimitrie Mangeron Street, Iasi, Romania, ionelpavel7@tuiasi.ro,+40 232 278683 / 1340

Abstract – The exponential development of the technology involves the using a large number of modern equipments, including household appliances. This fact is drawing attention to the increase the level of the low frequency magnetic field. The main objective of this paper is to study the relationship between the low frequency magnetic field generated by the household appliances and the current consumption. The measurement system consists of hand-held triple axis 480826 EMF Tester from Extech Instruments and 80i-400 clamp meter from Fluke. We have taken into account a number of 21 household appliances for which the depending mentioned above have been evaluated at 30 cm from source and 1 m above the ground or floor.

Keywords – Home Appliances, Current Consumption, Magnetic Field Exposure

- Introduction

In a century marked by the development of technology, consciously or not, we have come to depend on using the household appliances. Nowadays, due to the exigencies generated by the little time we have at our disposal to cook, they have become a necessity.

Once connected to power supply network, these equipments generate electric and magnetic fields. However, the exposure has steadily increased with increasing of energy consumption.

A number of studies were published over the past decade related only to human exposure of low frequency electric and magnetic fields [1-2], without making a connection between the magnetic field generated by appliances and the current consumption. In this paper we try to investigate this association for 21 common appliances, by establishing a test setup consisting of adequate current sensors and magnetic flux density measuring equipment, taking into account several aspects such as: specifications of the measurement equipment, measurement method, current consumption and operating mode of the appliances.

Further, the paper is organized as follows: Section 2 refers to a literature review with respect to home appliances consumption measurements and analysis, Section 3 presents the measurement methodology for study the relationship between the low frequency magnetic field generated by the household appliances and the current consumption; the measurement results and discussions are drawn in Section 4.

- Literature review

The aim of this literature review is to emphasize the main topics approached regarding to low frequency magnetic field generated by the household appliances and current consumption.

The most recent studies approach the possible effects of the magnetic field exposure generated de household appliances [3-4]. As well the human exposure for two groups, broadly corresponding to occupational and general public is treated [5].

In [6] is presented a classification of household appliances operation cycles, beneficial to Smart Grid concept. Other studies refer to automatic methods of electrical appliances identification based on domestic power consumption power measurement [7-8].

Recent works describes the exploring and developing the monitoring electric power consumption in households [9]. Regarding the characterization the household appliances electricity consumption in the EU, the specific policy and recommendations were proposed and lately adopted [10].

According with these studies presented in this literature review we think that is necessary to follow the dependence between the low frequency magnetic field generated by household appliances and the current consumption.

- Instrumentation and meaSUREMENT METHDOLOGY

All magnetic fields measurements have been performed with a hand-held triple axis 480826 EMF Tester from Extech Instruments that operates in the frequency range from 30 Hz to 300 Hz, the RMS values of the magnetic flux density being calculated with the equation (Error: Reference source not found):

B=Bx2+By2+Bz2	1

where Bx, By and Bz are the RMS values of the magnetic flux density measured on three orthogonal directions.

The intensity of the drawn current was measured with a 80i-400 clamp meter from Fluke, which have the output: 1 milli1ampere per ampere of input current. The measurements have been performed at 30 cm from the source and 1 meter above the ground or floor.

The experimental setup for studying the relationship between the magnetic field generated by the home appliances (EUT – Equipment Under Test) and current consumption is shown in Error: Reference source not found.

Hot

Ground

Neutral

230 V

~

EUT

1mA/1 A

y

z

O

x

Fig. 1. The measurement setup

The measurement methodology presented above has been performed for two types of household appliances [11]:

- appliances for heating with high current consumption (C1): electric hob, electric heating, washing machine, iron, electric oven, electric tap;

- appliances with an electric motor (C2):microwave oven, hairdryer, refrigerator, meat machine, hand blender, hand mixer, electric vegetable cutter, vacuum cleaner, cooker hood, coffee grinder, fruit juicer.

- results and discussions

- Appliances for heating with high current consumption

We have performed measurements taking into account seven household appliances for which the dependence between the magnetic field and current consumption at 30 cm from the source have been evaluated.

Most household appliances with high current consumption operate based on the thermal effect of the electric current, as it can be observed in table 1.The registered values of the drawn current range from the 6.25 A for electric heating to 22.3 A for electric hob. We also remarked that two similar home appliances, labeled in table “iron 1” an “iron 2” have a different current consumption. The smallest values of 2 A of the drawn current in case of the appliances for heating was measured at a washing machine, which operate based on the electric motor.

Table 1. Typical values of  magnetic flux density and drawn current at 30 cm for C1

|  | I[A] | B[nT] |
| --- | --- | --- |
| Electric hob | 22.3 | 87.74 |
| Electric heating | 6.25 | 64.03 |
| Washing machine | 2 | 241.03 |
| Iron 1 | 6.3 | 2800 |
| Iron 2 | 8.65 | 628.89 |
| Electric tap | 24.1 | 946.04 |
| Electric oven | 8.22 | 522.78 |

Fig. 2. The dependence between the magnetic field and drawn current for C1

On the other hand, the magnetic field generated by these household appliances range from 64.03 nT to 2800 nT. As we expected, in fig. 2 it can be observe that is no particular dependence between magnetic field and drawn current.

- Appliances with an electric motor

The household appliances that use an electric motor, operates on some devices by doing mechanical work such as clothes washing, dust aspiration or air ventilation.

We have performed measurements on the magnetic field and drawn current, taking into account 13 household appliances, as it can be observed in table 2.

Table 2. Typical values of the magnetic flux density and drawn current at 30 cm for C2

|  | I[A] | B[nT] |
| --- | --- | --- |
| microwave oven 1 | 5.75 | 5101.96 |
| microwave oven 2 | 4.9 | 9053.86 |
| microwave oven 3 | 2.9 | 10080 |
| Refrigerator 1 | 0.4 | 75.49 |
| Refrigerator 2 | 0.3 | 17.32 |
| Meat machine | 0.22 | 677.86 |
| Hand blender | 0.26 | 123.69 |
| Hand mixer | 0.45 | 9129.75 |
| Electric vegetable cutter | 0.45 | 785.42 |
| Vacuum cleaner | 6.15 | 756.96 |
| Cooker hood | 0.75 | 354.96 |
| Coffee grinder | 0.4 | 433.70 |
| Fruit juicer. | 0.13 | 78.74 |

Most of the recorded values of drawn current are smaller than 1 A, except three microwave ovens and electric vegetables cutter for which the current consumption range from the 2.9 to 6.15 A. We notice that three microwave ovens have different values both for the current consumption and the magnetic flux density. For instance, for the first microwave oven the drawn current is 5.75 A, that means two times more than current consumption of the second microwave oven. Regarding the magnetic fields generated by the two microwave ovens, it can be observed that the ratio is also 2, but in favor of the first one. We also remarked that in case of a hand mixer, the drawn current has a very low value while the magnetic flux density is greater than 9 µT.

In case of three household appliances, two refrigerators and a fruit juicer, very low values for both the drawn current and magnetic flux density was recorded.

However, as we expected, it cannot be said that there is dependence between the current consumption and the magnetic field generated by the household appliances, as it shown in fig. 3.

Considering all the results, we conclude that the household appliances from the first category have higher current consumption than those from the second category, but smaller magnetic field levels, as it shown in fig. 4.

Fig. 3. The dependence between the magnetic field and drawn current for C2

Fig. 4. The dependence between the magnetic field and drawn current both for C1 and C2

- Conclusions

The market of the electronic products is steadily increasing and the number of the household appliances is getting bigger. There are frequently used for various activities such as: heating, cleaning, therapy and hygiene or food preservation.

Even if some household appliances generated magnetic fields of tens of microtesla, a person spends a short time close to them and the human exposure to magnetic field is limited. Based on the measurements that we performed close to household appliances, we remarked there values of magnetic flux density around 10 µT, but magnetic field level fall as the inverse cube of distance, such that to one meter of source the magnetic field has the same order of magnitude with the background magnetic field.

There are small devices such as hand mixer that generates high magnetic field level, even if the drawn current is lower than 0.5 A.

On the other hand, we remarked that appliances based on the same operating principle generate different magnetic fields level and have a different current consumption. Therefore, in case of household appliances that operate based on the passing of the electrical current through a resistor, both the magnetic field level and the current consumption differ significantly from a device to another, without being a particular dependence between them.

Consequently, based on the measurements that we performed on the household appliances presented in this paper, we conclude that is no relationship between the magnetic field generated by these devices and the drawn current.

References

- Lunca, E., Ursache S., Salceanu, A., Study of the power-frequency magnetic fields in residences and schools, AGIR, No. 3. 2012, pp. 689-694.

- Ali, E., Memari, A. R., Effects of magnetic field of power lines and household appliances on human and animals and its mitigation, 2010 IEEE Middle East Conference on Antennas and Propagation, DOI: 10.1109/MECAP.2010.5724167, 2010.

- Ursache, S., Salceanu, A. et al., Indoor and outdoor measurements of the low frequency magnetic fields in an urban area, 2016 International Conference and Exposition on Electrical and Power Engineering (EPE), 2016, pp. 1-4.

- Chen, M., Du, Y., Magnetic field environments at power frequency inside modern buildings, 2013 Asia-Pacific Symposium on Electromagnetic Compatibility (APEMC), 2013, DOI: 10.1109/APEMC.2013.7360626.

- Ali; E., Memari. A. R., Effects of magnetic field of power lines and household appliances on human and animals and its mitigation, IEEE Middle East Conference on Antennas and Propagation (MECAP), 2010, DOI: 10.1109/MECAP.2010.5724167.

- Wang, Z., Srinivasan, R., Classification of Household Appliance Operation Cycles: A Case-Study Approach, Energies 2015, 8, 10522-10536; doi:10.3390/en80910522.

- Lukaszewski, R.;  Liszewski K.;  Winiecki. W.,  Methods of electrical appliances identification in systems monitoring electrical energy consumption, 2013 IEEE 7th International Conference on Intelligent Data Acquisition and Advanced Computing Systems (IDAACS), DOI: 10.1109/IDAACS.2013.6662630.

- Serra, H.; Correia, J. et al., Domestic power consumption measurement and automatic home appliance detection, IEEE International Workshop on Intelligent Signal Processing, 2005, DOI: 10.1109/WISP.2005.1531645.

- Fitta, M., Biza, S., et al., Exploring Techniques for Monitoring Electric Power Consumption in Households, UBICOMM 2010: The Fourth International Conference on Mobile Ubiquitous Computing, Systems, Services and Technologies, 2010, pp. 471-477.

- Almeida, A., Fonseca, P. et al., Characterization of the household electricity consumption in the EU, potential energy savings and specific policy recommendations, Energy and Buildings, 43(8), 2011, pp.1884-1894.

- www.emf-portal.org